## Sheet1
Port number | Discriptions | Src IP address | Dst IP address
16601 | CB1_66KV_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16602 | CB2_66KV_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16603 | CB3_66KV_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
15501 | Transformer1_winding1_voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13301 | Transformer1_winding2_voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
15502 | Transformer2_winding1_voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | Port number definition rules
13302 | Transformer2_winding2_voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | 1st: 1 = UDP send from simulink, 2 = UDP recieve from OpenPLC
12201 | CB1_22KV_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | 2nd and 3rd: 66 = 66kv, 55 = transformer winding 1, 33 = transformer winding 2, 22 = 22kv, 11 = feeder
12202 | CB_TRSF1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | 4th: 0 = voltage, 1 = current, 2 = frequency, 3 = voltage fault, 4 = current fault, 9 = CB control signal
12203 | CB_TRSF2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | 5th: = the ID of the object in simulink diagram (e.g. x66x2 = the second CB in 66kv line (left to right); x55x1 = winding 1 of the first transformer (left to right); x33x2 = winding 2 of the second transformer)
11101 | CB_Feeder1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11102 | CB_Feeder2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255) | PS: 10000 = Reset all CB trip status
11103 | CB_Feeder2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11104 | CB_Feeder2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16631 | Fault_on_66BUS1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16632 | Fault_on_66BUS2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13331 | Fault_on_TRSF1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13332 | Fault_on_TRSF2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12231 | Fault_on_22BUS1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12232 | Fault_on_22BUS2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11131 | Fault_on_Feeder1_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11132 | Fault_on_Feeder2_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11133 | Fault_on_Feeder3_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11134 | Fault_on_Feeder4_Voltage | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16611 | CB1_66KV_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16612 | CB2_66KV_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16613 | CB3_66KV_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
15511 | Transformer1_winding1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13311 | Transformer1_winding2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
15512 | Transformer2_winding1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13312 | Transformer2_winding2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12211 | CB1_22KV_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12212 | CB_TRSF1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12213 | CB_TRSF2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11111 | CB_Feeder1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11112 | CB_Feeder2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11113 | CB_Feeder2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11114 | CB_Feeder2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16641 | Fault_on_66BUS1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
16642 | Fault_on_66BUS2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13341 | Fault_on_TRSF1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
13342 | Fault_on_TRSF2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12241 | Fault_on_22BUS1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12242 | Fault_on_22BUS2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11141 | Fault_on_Feeder1_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11142 | Fault_on_Feeder2_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11143 | Fault_on_Feeder3_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11144 | Fault_on_Feeder4_Current | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12291 | Status_CB1_22KV | 23.23.23.254 | UDP broadcasting (23.23.23.255)
12293 | Status_CB3_22KV | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11191 | Status_CB_Feeder1 | 23.23.23.254 | UDP broadcasting (23.23.23.255)
11194 | Status_CB_Feeder4 | 23.23.23.254 | UDP broadcasting (23.23.23.255)
26691 | Trip CB1_66KV | 23.23.23.0 | 23.23.23.254
26692 | Trip CB2_66KV | 23.23.23.0 | 23.23.23.254
26693 | Trip CB3_66KV | 23.23.23.0 | 23.23.23.254
23391 | Trip CB_Transformer1 | 23.23.23.0 | 23.23.23.254
23392 | Trip CB_Transformer2 | 23.23.23.0 | 23.23.23.254
22291 | Trip CB1_22KV | 23.23.23.0 | 23.23.23.254
22292 | Trip CB2_22KV | 23.23.23.0 | 23.23.23.254
22293 | Trip CB3_22KV | 23.23.23.0 | 23.23.23.254
21191 | Trip CB_Feeder1 | 23.23.23.0 | 23.23.23.254
21192 | Trip CB_Feeder2 | 23.23.23.0 | 23.23.23.254
21193 | Trip CB_Feeder3 | 23.23.23.0 | 23.23.23.254
21194 | Trip CB_Feeder4 | 23.23.23.0 | 23.23.23.254
10000 | Reset_All_CB | 23.23.23.254 | UDP broadcasting (23.23.23.255)